## Slide 1
Numerical command
FLIR SC8000 HS Series, for 2.5~5.0 µm WL
FLIR A6261, for 0.6~1.7 µm WL
Raspberry Pi Camera
Relay
Camera
MATLAB
TTL signal
Save image
Import and display image in GUI
Numerical command
Relay
Camera
MATLAB
TTL signal
Save image
Import and display image in GUI
Raspberry Pi Computer
Camera
MATLAB
Display image
Capture image

## Slide 2
Numerical command
TTL-level signal
Save image
Import image, calculate spectral properties
Relay
IR camera

## Slide 3
WL: 3.10 µm
2.45 mm
= 16.3%
WL: 3.37 µm
3.38 mm
= 22.5%
WL: 3.50 µm
3.75 mm
= 25.0%
WL: 3.60 µm
4.32 mm
= 28.8%
WL: 4.50 µm
7.70 mm
= 51.3%
WL: 4.70 µm
8.45 mm
= 56.3%

## Slide 4
The model predicts the 5 µm wavelength to be at 9.6 mm (63.8 % of full length).
The model predicts the 2.5 um wavelength to be at 0.09 mm, so essentially 0% of the full length.
Linear Model Based on July 22 LVF Verification Test
WL: 3.10 µm
2.45 mm
= 16.3%
WL: 3.37 µm
3.38 mm
= 22.5%
WL: 3.50 µm
3.75 mm
= 25.0%
WL: 3.60 µm
4.32 mm
= 28.8%
WL: 4.50 µm
7.70 mm
= 51.3%
WL: 4.70 µm
8.45 mm
= 56.3%

## Slide 5
3.10 µm
3.37 µm
3.50 µm
3.60 µm
4.26 µm
4.60 µm
4.70 µm

## Slide 6
Laser Power Supply
Laser Head
Power settings
Pulse timing
Laser output
Instrument settings
Oscilloscope
Waveform Generator